Kings Row HOA Annual Meeting Minutes

Sunday, November 17th, 2024

Time 3:00p.m.

Missouri Heights Schoolhouse

- Open Meeting at 3:05pm

- Approve 2023 ZOOM Annual Meeting Minutes

  - Minutes were approved with no corrections by membership

- Approve January 2024 Special Meeting Minutes

  - Minutes were approved with no corrections by membership

- President’s Report

  - Telemetry at wells to pumphouse – alarms were being sent indicating an issue with the communications between the wells and the support mechanisms inside the pumphouse – the faulty equipment was replaced and secured including backup devices

  - The pump at well #3 broke down – the pump and the motor were replaced and back up replacement parts were ordered and are on hand at the pumphouse.

  - The electric line for well #3 was part of the problem of the break down.  The line had to be dug up and was found to be damaged.  A new electrical line was installed and to keep it safe underground it was buried in conduit

  - Water Tank inspection every 5 years – 2024 is the year for the water storage tank inspection.  The tank divers completed the task in October and found that there were little changes from the last inspection and the tank is good for another 5 years

  - The pumphouse driveway was worked on to level the area around the pumphouse and the entrance.  The ruts were removed while adding road base. This work provides a better space for the truck traffic when necessary and the plowing in the wintertime

  - Currently we are working on the lower bottom exterior of the pumphouse.  As the cement slab that the house sits on has settled, a gap has appeared.  This fix will deter the ice and snow from settling on the cement slab and keep it away from the bottom exterior of the pumphouse and also keep any critters from entering the house and causing any damage

  - During the yearly maintenance routine for the fire hydrants, two hydrants were found that needed repair and an extension lift because they have been sitting below the level of the road.  The fire hydrant at KR South/Prince intersection was repaired and an extension put in place for it to be easily accessible.  The fire hydrant on Prince sitting close to the irrigation ditch was initially thought to need repairs but once the digging started more things were revealed and the hydrant needed to be replaced along with the valve,d and an extension was added to be at the level of the road for easy accessibility

- Budget – Julie called for questions concerning the BUDGET for 2025 – one question was asked about the expense for the website.  The subscription is paid 3 years at a time and is due this year thus it is included in the budget.  The budget was passed by the membership with no corrections

- Revenue Ruling – the revenue ruling was passed unanimously by the membership

- Scott Thompson Presented Home Fire Safety

  - 5 ft is the new safety distance for wood and trees next to the house

  - Suggests yearly Chimney inspection & cleaning

  - Don’t use a fire extinguisher in kitchen fires it spreads the accelerant – use a fire blanket

  - You can contact your local fire department for a friendly fire prevention inspection

- Susan Cuseo spoke regarding blind spot/entrance of Kings Row South

  - Increased traffic on county road 102 is affecting the safety of homeowners using the south exit due to a blind spot – Susan briefly outlined the issue and asked for signatures from anyone interested in supporting a petition.  Susan is reviewing other information as well and will come back to the interested parties and try to move a petition forward to Garfield County

- Additional business

  - Question on status of the Excel expansion project – meeting with the public was three years ago – we haven’t received an update

- Close of Meeting

  - Julie called for additional comments or questions – the meeting adjourned at 3:59pm

- In Attendance:   Quorum was met with 30 lots represented

- Julie Mikus

- Scott Thompson

- Val Oken

- Theresa Priebe

- Jo Ashton

- Becky and Patrick Chase

- Roshni Slali

- Trevor & Danica Moodie

- Kathy Sydoryk

- Page & Joel Cook

- Nick Wenthur & son

- John & Emmy Crowder

- Susan Cuseo

- Connie Wood

- Molly Bartholow

- Carol Gault

- Tim & Mimi Trombatore

- Jennifer & Bryn Peterson

- Sandy Francis

By Proxy:

    - Rosemarie Wettstein

    - Holly & Josh Nelson

    - Jeff & Holly Bader

    - Chris Bourne

    - GR Fielding

    - Dave & Kim Briscoe

    - Sylvia Wendrow

    - Elizabeth Weiwall

    - Tim Herriod

    - Greg & RaeLyn Litten

    - Michael Luciano